## ASSET_MASTER
asset_id | asset_name | Department | Location
CP/GF/GIS/SF6-4 | SF6 Main Incomer Lilo Bay (F04) | ELECTRICAL | T-A GF
CP/GF/GIS/SF6-1 | SF6 Main Incomer Bay (F01) | ELECTRICAL | T-A GF
CP/GF/GIS/SF6-2 | SF6 Transformer Bay (F02) | ELECTRICAL | T-A GF
CP/GF/GIS/SF6-3 | SF6 Transformer Bay (F03) | ELECTRICAL | T-A GF
CP/B4/DG-1 | DG NO-1 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG-2 | DG NO-2 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG-3 | DG NO-3 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG-4 | DG NO-4 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG-5 | DG NO-5 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG-6 | DG NO-6 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG-7 | DG NO-7 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG-8 | DG NO-8 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG-9 | DG NO-9 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG-10 | DG NO-10 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG ALTR-1 | DG Alternator-1 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG ALTR-2 | DG Alternator-2 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG ALTR-3 | DG Alternator-3 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG ALTR-4 | DG Alternator-4 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG ALTR-5 | DG Alternator-5 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG ALTR-6 | DG Alternator-6 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG ALTR-7 | DG Alternator-7 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG ALTR-8 | DG Alternator-8 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG ALTR-9 | DG Alternator-9 | ELECTRICAL | T-ABasement-4DG Room
CP/B4/DG ALTR-10 | DG Alternator-10 | ELECTRICAL | T-ABasement-4DG Room
CP/B4-DG/BTRY-CHRGR-01 | DG Battery charger-1 | ELECTRICAL | T-ABasement-4DG Room
CP/B4-DG/BTRY-CHRGR-02 | DG Battery charger-2 | ELECTRICAL | T-ABasement-4DG Room
CP/B4-DG/BTRY-CHRGR-03 | DG Battery charger-3 | ELECTRICAL | T-ABasement-4DG Room
CP/B4-DG/BTRY-CHRGR-04 | DG Battery charger-4 | ELECTRICAL | T-ABasement-4DG Room
CP/B4-DG/BTRY-CHRGR-05 | DG Battery charger-5 | ELECTRICAL | T-ABasement-4DG Room
CP/B4-DG/BTRY-CHRGR-06 | DG Battery charger-6 | ELECTRICAL | T-ABasement-4DG Room
CP/B4-DG/BTRY-CHRGR-07 | DG Battery charger-7 | ELECTRICAL | T-ABasement-4DG Room
CP/B4-DG/BTRY-CHRGR-08 | DG Battery charger-8 | ELECTRICAL | T-ABasement-4DG Room
CP/B4-DG/BTRY-CHRGR-09 | DG Battery charger-9 | ELECTRICAL | T-ABasement-4DG Room
CP/B4-DG/BTRY-CHRGR-10 | DG Battery charger-10 | ELECTRICAL | T-ABasement-4DG Room
CP/TERRACE/DG CT-1 | DG cooling tower-1 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/DG CT-2 | DG cooling tower-2 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/DG CT-3 | DG cooling tower-3 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/DG CT-4 | DG cooling tower-4 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/DG CT-5 | DG cooling tower-5 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/CT MTR-1 | DG cooling tower motor-1 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/CT MTR-2 | DG cooling tower motor-2 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/CT MTR-3 | DG cooling tower motor-3 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/CT MTR-4 | DG cooling tower motor-4 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/CT MTR-5 | DG cooling tower motor-5 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/CT MTR-6 | DG cooling tower motor-6 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/CT MTR-7 | DG cooling tower motor-7 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/CT MTR-8 | DG cooling tower motor-8 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/CT MTR-9 | DG cooling tower motor-9 | ELECTRICAL | T-ATerraceNA
CP/TERRACE/CT MTR-10 | DG cooling tower motor-10 | ELECTRICAL | T-ATerraceNA
CP/B4/CT PMP1 | CT Water circulation Pump-1 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP2 | CT Water circulation Pump-2 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP-3 | CT Water circulation Pump-3 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP4 | CT Water circulation Pump-4 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP5 | CT Water circulation Pump-5 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP6 | CT Water circulation Pump-6 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP7 | CT Water circulation Pump-7 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP8 | CT Water circulation Pump-8 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP9 | CT Water circulation Pump-9 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP10 | CT Water circulation Pump-10 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP11 | CT Water circulation Pump-11 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP12 | CT Water circulation Pump-12 | ELECTRICAL | T-ABasement-4NA
CP/B4/CT PMP13 | CT Water circulation Pump-13 | ELECTRICAL | T-ABasement-4NA
CP/B2/AW-1 | Air washer-1 | VENTILATION | T-ABasement-2Air Washer Room
CP/B2/AW-2 | Air washer-2 | VENTILATION | T-ABasement-2Air Washer Room
CP/B2/AW-3 | Air washer-3 | VENTILATION | T-ABasement-2Air Washer Room
CP/B2/AW-4 | Air washer-4 | VENTILATION | T-ABasement-3Air Washer Room
CP/B2/AW-5 | Air washer-5 | VENTILATION | T-ABasement-3Air Washer Room
CP/B3/AW-6 | Air washer-6 | VENTILATION | T-ABasement-3Air Washer Room
CP/B3/AW-7 | Air washer-7 | VENTILATION | T-ABasement-3Air Washer Room
CP/B-4/UTILITY/CH-1 | Chiller No-1 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CH-2 | Chiller No-2 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CH-3 | Chiller No-3 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CH-4 | Chiller No-4 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CH-5 | Chiller No-5 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CNDWPMP-1 | Condensor Water Pump -1 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CNDWPMP-2 | Condensor Water Pump -2 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CNDWPMP-3 | Condensor Water Pump -3 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CNDWPMP-4 | Condensor Water Pump -4 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CNDWPMP-5 | Condensor Water Pump -5 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CHWPPMP-1 | Primary Chilled Water Pump -1 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CHWPPMP-2 | Primary Chilled Water Pump -2 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CHWPPMP-3 | Primary Chilled Water Pump -3 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CHWPPMP-4 | Primary Chilled Water Pump -4 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CHWPPMP-5 | Primary Chilled Water Pump -5 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CHWSPMP-1 | Secondary Chilled water Pump -1 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CHWSPMP-2 | Secondary Chilled water Pump -2 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CHWSPMP-3 | Secondary Chilled water Pump -3 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CHWSPMP-4 | Secondary Chilled water Pump -4 | HVAC | T-ABasement-4HVAC Plant Room
CP/B-4/UTILITY/CHWSPMP-5 | Secondary Chilled water Pump -5 | HVAC | T-ABasement-4HVAC Plant Room
CP/TERRACE/CH CT-1 | Chiller cooling tower -1 | HVAC | T-ATERRACENA
CP/TERRACE/CH CT-2 | Chiller cooling tower -2 | HVAC | T-ATERRACENA
CP/TERRACE/CH CT-3 | Chiller cooling tower -3 | HVAC | T-ATERRACENA
CP/TERRACE/CH CT-4 | Chiller cooling tower -4 | HVAC | T-ATERRACENA
CP/TERRACE/CH CT/ MTR-1 | Chiller Cooling tower Motor-1 | HVAC | T-ATERRACENA
CP/TERRACE/CH CT/ MTR-2 | Chiller Cooling tower Motor-2 | HVAC | T-ATERRACENA
CP/TERRACE/CH CT/ MTR-3 | Chiller Cooling tower Motor-3 | HVAC | T-ATERRACENA
CP/TERRACE/CH CT/ MTR-4 | Chiller Cooling tower Motor-4 | HVAC | T-ATERRACENA
CP/TERRACE/CH CT/ MTR-5 | Chiller Cooling tower Motor-5 | HVAC | T-ATERRACENA
CP/TERRACE/CH CT/ MTR-6 | Chiller Cooling tower Motor-6 | HVAC | T-ATERRACENA
CP/TERRACE/CH CT/ MTR-7 | Chiller Cooling tower Motor-7 | HVAC | T-ATERRACENA
CP/TERRACE/CH CT/ MTR-8 | Chiller Cooling tower Motor-8 | HVAC | T-ATERRACENA
CP/T-A/PLFT-A | Passenger Lifts- A | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-B | Passenger Lifts- B | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-C | Passenger Lifts- C | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-D | Passenger Lifts- D | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-E | Passenger Lifts- E | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-F | Passenger Lifts- F | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-G | Passenger Lifts- G | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-H | Passenger Lifts- H | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-I | Passenger Lifts- I | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-J | Passenger Lifts- J | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-K | Passenger Lifts- K | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-L | Passenger Lifts- L | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-M | Passenger Lifts-M | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-N | Passenger Lifts- N | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-O | Passenger Lifts- O | LIFT | Tower-AGF to 11th floor
CP/T-A/PLFT-P | Passenger Lifts-P | LIFT | Tower-AGF to 11th floor
CP/T-A/SLFT-NS | Service Lift-1 North side | LIFT | Tower-AB4 to 11th floor
CP/T-A/SLFT-SS | Service Lift-2 South side | LIFT | Tower-AB4 to 11th floor
CP/T-AB/FLFT-NS | Fire Lift-North Side | LIFT | Tower-A-BG.F to B4
CP/T-AB/FLFT-SS | Fire Lift-South Side | LIFT | Tower-A-BG.F to B4
CP/T-AB/SHUT LFT-20 | Shuttle Lift-20 | LIFT | Tower-A-BG.F to B3
CP/T-AB/SHUT LFT-21 | Shuttle Lift-21 | LIFT | Tower-A-BG.F to B4
CP/T-AB/SHUT LFT-22 | Shuttle Lift-22 | LIFT | Tower-A-BG.F to B4
CP/T-AB/SHUT LFT-23 | Shuttle Lift-23 | LIFT | Tower-A-BG.F to B3
CP/T-AB/SHUT LFT-24 | Shuttle Lift-24 | LIFT | Tower-A-BG.F to B4
CP/T-AB/SHUT LFT-25 | Shuttle Lift-25 | LIFT | Tower-A-BG.F to B4
CP/T-B/PLFT-A | Passenger Lifts- A | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-B | Passenger Lifts- B | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-C | Passenger Lifts- C | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-D | Passenger Lifts- D | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-E | Passenger Lifts- E | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-F | Passenger Lifts- F | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-G | Passenger Lifts- G | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-H | Passenger Lifts- H | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-I | Passenger Lifts- I | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-J | Passenger Lifts- J | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-K | Passenger Lifts- K | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-L | Passenger Lifts- L | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-M | Passenger Lifts-M | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-N | Passenger Lifts- N | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-O | Passenger Lifts- O | LIFT | Tower-BGF to 12th floor
CP/T-B/PLFT-P | Passenger Lifts-P | LIFT | Tower-BGF to 12th floor
CP/T-B/SLFT-NS | Service Lift-North side | LIFT | Tower-BB4 to 12th floor
CP/T-B/SLFT-SS | Service Lift-Sooth Side | LIFT | Tower-BB4 to 12th floor
CP/T-B/PLFT-A | Passenger Lifts- A | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-B | Passenger Lifts- B | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-C | Passenger Lifts- C | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-D | Passenger Lifts- D | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-E | Passenger Lifts- E | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-F | Passenger Lifts- F | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-G | Passenger Lifts- G | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-H | Passenger Lifts- H | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-I | Passenger Lifts- I | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-J | Passenger Lifts- J | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-K | Passenger Lifts- K | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-L | Passenger Lifts- L | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-M | Passenger Lifts-M | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-N | Passenger Lifts- N | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-O | Passenger Lifts- O | LIFT | Tower-CGF to 12th floor
CP/T-B/PLFT-P | Passenger Lifts-P | LIFT | Tower-CGF to 12th floor
CP/T-C/SLFT-NS | Service Lift-North side | LIFT | Tower-CB4 to 12th floor
CP/T-C/SLFT-SS | Service Lift-Sooth Side | LIFT | Tower-CB4 to 12th floor
CP/T-BC/SLFT-NS | Fire Lift-North Side | LIFT | Tower-B-CB4 to 12th floor
CP/T-BC/SLFT-SS | Fire Lift-South Side | LIFT | Tower-B-CB4 to 12th floor
CP/T-BC/SHUT LFT-20 | Shuttle Lift-20 | LIFT | Tower-B-CG.F to B3
CP/T-BC/SHUT LFT-21 | Shuttle Lift-21 | LIFT | Tower-B-CG.F to B4
CP/T-BC/SHUT LFT-22 | Shuttle Lift-22 | LIFT | Tower-B-CG.F to B4
CP/T-BC/SHUT LFT-23 | Shuttle Lift-23 | LIFT | Tower-B-CG.F to B3
CP/T-BC/SHUT LFT-24 | Shuttle Lift-24 | LIFT | Tower-B-CG.F to B4
CP/T-BC/SHUT LFT-25 | Shuttle Lift-25 | LIFT | Tower-B-CG.F to B4
CP/T-A/B1/DV-1 | Deluge Valve -1 | FIRE | TOWER-ABasement-1
CP/T-A/B1/DV-2 | Deluge Valve -2 | FIRE | TOWER-ABasement-1
CP/T-A/B1/DV-3 | Deluge Valve -3 | FIRE | TOWER-ABasement-1
CP/T-A/B1/DV-4 | Deluge Valve -4 | FIRE | TOWER-ABasement-1
CP/T-A/B2/DV-1 | Deluge Valve -1 | FIRE | TOWER-ABasement-2
CP/T-A/B2/DV-2 | Deluge Valve -2 | FIRE | TOWER-ABasement-2
CP/T-A/B2/DV-3 | Deluge Valve -3 | FIRE | TOWER-ABasement-2
CP/T-A/B2/DV-4 | Deluge Valve -4 | FIRE | TOWER-ABasement-2
CP/T-A/B3/DV-1 | Deluge Valve -1 | FIRE | TOWER-ABasement-3
CP/T-A/B3/DV-2 | Deluge Valve -2 | FIRE | TOWER-ABasement-3
CP/T-A/B3/DV-3 | Deluge Valve -3 | FIRE | TOWER-ABasement-3
CP/T-B/B1/DV-1 | Deluge Valve -1 | FIRE | TOWER-BBasement-1
CP/T-B/B1/DV-2 | Deluge Valve -2 | FIRE | TOWER-BBasement-1
CP/T-B/B1/DV-3 | Deluge Valve -3 | FIRE | TOWER-BBasement-1
CP/T-B/B1/DV-4 | Deluge Valve -4 | FIRE | TOWER-BBasement-1
CP/T-B/B2/DV-1 | Deluge Valve -1 | FIRE | TOWER-BBasement-2
CP/T-B/B2/DV-2 | Deluge Valve -2 | FIRE | TOWER-BBasement-2
CP/T-B/B2/DV-3 | Deluge Valve -3 | FIRE | TOWER-BBasement-2
CP/T-B/B2/DV-4 | Deluge Valve -4 | FIRE | TOWER-BBasement-2
CP/T-B/B3/DV-1 | Deluge Valve -1 | FIRE | TOWER-BBasement-3
CP/T-B/B3/DV-2 | Deluge Valve -2 | FIRE | TOWER-BBasement-3
CP/T-B/B3/DV-3 | Deluge Valve -3 | FIRE | TOWER-BBasement-3
CP/T-B/B3/DV-4 | Deluge Valve -4 | FIRE | TOWER-BBasement-3
CP/T-B/B4/DV-1 | Deluge Valve -1 | FIRE | TOWER-BBasement-4
CP/T-B/B4/DV-2 | Deluge Valve -2 | FIRE | TOWER-BBasement-4
CP/T-B/B4/DV-3 | Deluge Valve -3 | FIRE | TOWER-BBasement-4
CP/T-B/B4/DV-4 | Deluge Valve -4 | FIRE | TOWER-BBasement-4
CP/T-C/B1/DV-1 | Deluge Valve -1 | FIRE | TOWER-CBasement-1
CP/T-C/B1/DV-2 | Deluge Valve -2 | FIRE | TOWER-CBasement-1
CP/T-C/B1/DV-3 | Deluge Valve -3 | FIRE | TOWER-CBasement-1
CP/T-C/B2/DV-1 | Deluge Valve -1 | FIRE | TOWER-CBasement-2
CP/T-C/B2/DV-2 | Deluge Valve -2 | FIRE | TOWER-CBasement-2
CP/T-C/B2/DV-3 | Deluge Valve -3 | FIRE | TOWER-CBasement-2
CP/T-C/B3/DV-1 | Deluge Valve -1 | FIRE | TOWER-CBasement-3
CP/T-C/B3/DV-2 | Deluge Valve -2 | FIRE | TOWER-CBasement-3
CP/T-C/B3/DV-3 | Deluge Valve -3 | FIRE | TOWER-CBasement-3
CP/T-C/B4/DV-1 | Deluge Valve -1 | FIRE | TOWER-CBasement-4
CP/T-C/B4/DV-2 | Deluge Valve -2 | FIRE | TOWER-CBasement-4
CP/T-C/B4/DV-3 | Deluge Valve -3 | FIRE | TOWER-CBasement-4
CP/T-A/GF/FLB-1 | Flap Barrier -1 | SECURITY | TOWER-AG.F
CP/T-A/GF/FLB-2 | Flap Barrier -2 | SECURITY | TOWER-AG.F
CP/T-A/GF/FLB-3 | Flap Barrier -3 | SECURITY | TOWER-AG.F
CP/T-A/GF/FLB-4 | Flap Barrier -4 | SECURITY | TOWER-AG.F
CP/T-A/GF/FLB-5 | Flap Barrier -5 | SECURITY | TOWER-AG.F
CP/T-A/GF/FLB-6 | Flap Barrier -6 | SECURITY | TOWER-AG.F
CP/T-A/GF/FLB-7 | Flap Barrier -7 | SECURITY | TOWER-AG.F
CP/T-A/GF/FLB-8 | Flap Barrier -8 | SECURITY | TOWER-AG.F
CP/T-A/GF/FLB-9 | Flap Barrier -9 | SECURITY | TOWER-AG.F
CP/T-A/GF/FLB-10 | Flap Barrier -10 | SECURITY | TOWER-AG.F
CP/T-A/GF/FLB-11 | Flap Barrier -11 | SECURITY | TOWER-AG.F
CP/T-A/GF/BMBR-1 | BOOM BARRIER-1 | SECURITY | TOWER-AG.F
CP/T-A/GF/BMBR-2 | BOOM BARRIER-2 | SECURITY | TOWER-AG.F
CP/T-A/GF/BMBR-3 | BOOM BARRIER-3 | SECURITY | TOWER-AG.F
CP/T-B/GF/FLB-1 | Flap Barrier -1 | SECURITY | TOWER-BG.F
CP/T-B/GF/FLB-2 | Flap Barrier -2 | SECURITY | TOWER-BG.F
CP/T-B/GF/FLB-3 | Flap Barrier -3 | SECURITY | TOWER-BG.F
CP/T-B/GF/FLB-4 | Flap Barrier -4 | SECURITY | TOWER-BG.F
CP/T-B/GF/FLB-5 | Flap Barrier -5 | SECURITY | TOWER-BG.F
CP/T-B/GF/FLB-6 | Flap Barrier -6 | SECURITY | TOWER-BG.F
CP/T-B/GF/FLB-7 | Flap Barrier -7 | SECURITY | TOWER-BG.F
CP/T-B/GF/FLB-8 | Flap Barrier -8 | SECURITY | TOWER-BG.F
CP/T-B/GF/FLB-9 | Flap Barrier -9 | SECURITY | TOWER-BG.F
CP/T-B/GF/FLB-10 | Flap Barrier -10 | SECURITY | TOWER-BG.F
CP/T-C/GF/FLB-1 | Flap Barrier -1 | SECURITY | TOWER-CG.F
CP/T-C/GF/FLB-2 | Flap Barrier -2 | SECURITY | TOWER-CG.F
CP/T-C/GF/FLB-3 | Flap Barrier -3 | SECURITY | TOWER-CG.F
CP/T-C/GF/FLB-4 | Flap Barrier -4 | SECURITY | TOWER-CG.F
CP/T-C/GF/FLB-5 | Flap Barrier -5 | SECURITY | TOWER-CG.F
CP/T-C/GF/FLB-6 | Flap Barrier -6 | SECURITY | TOWER-CG.F
CP/T-C/GF/FLB-7 | Flap Barrier -7 | SECURITY | TOWER-CG.F
CP/T-C/GF/FLB-8 | Flap Barrier -8 | SECURITY | TOWER-CG.F
CP/T-C/GF/FLB-9 | Flap Barrier -9 | SECURITY | TOWER-CG.F
CP/T-C/GF/FLB-10 | Flap Barrier -10 | SECURITY | TOWER-CG.F
CP/T-C/GF/FLB-11 | Flap Barrier -11 | SECURITY | TOWER-CG.F
CP/T-C/GF/BMBR-4 | BOOM BARRIER-4 | SECURITY | TOWER-CG.F
CP/T-C/GF/BMBR-5 | BOOM BARRIER-5 | SECURITY | TOWER-CG.F
CP/T-C/GF/BMBR-6 | BOOM BARRIER-6 | SECURITY | TOWER-CG.F
CP/T-C/GF/BMBR-7 | BOOM BARRIER-7 | SECURITY | TOWER-CG.F
CP/T-A/GF/BS-1 | BAGGAGE SCANNER | SECURITY | TOWER-AG.F
CP/T-B/GF/BS-2 | BAGGAGE SCANNER | SECURITY | TOWER-BG.F
CP/T-C/GF/BS-3 | BAGGAGE SCANNER | SECURITY | TOWER-CG.F
CP/T-C/GF/BS-4 | BAGGAGE SCANNER-2 (Gate no 2) | SECURITY | TOWER-CG.F
CP/T-C/B3/FSWFPMP-1 | Flushing Soft water feed pump-1 with soft starter |  | TOWER-CTOWER-C,B-3
CP/T-C/B3/FSWFPMP-2 | Flushing Soft water feed pump-2 with soft starter |  | TOWER-CTOWER-C,B-3
CP/T-C/B3/FSWFPMP-3 | Flushing Soft water feed pump-3 with soft starter |  | TOWER-CTOWER-C,B-3
CP/T-C/B3/FSWFPMP-4 | Flushing Soft water feed pump-4 with soft starter |  | TOWER-CTOWER-C,B-3
CP/T-B/B3/FSWFPMP-1 | Flushing Soft water feed pump-1 with soft starter |  | TOWER-CTOWER-C,B-3
CP/T-B/B3/FSWFPMP-2 | Flushing Soft water feed pump-2 with soft starter |  | TOWER-CTOWER-C,B-3
CP/T-B/B3/FSWFPMP-3 | Flushing Soft water feed pump-3 with soft starter |  | TOWER-CTOWER-C,B-3
CP/T-B/B3/FSWFPMP-4 | Flushing Soft water feed pump-4 with soft starter |  | TOWER-CTOWER-C,B-3
CP/T-C/B3/FSWFPMP-1 | Flushing Soft water feed pump-1 with soft starter |  | TOWER-CTOWER-C,B-3STP ROOM
CP/T-C/B3/FSWFPMP-2 | Flushing Soft water feed pump-2 with soft starter |  | TOWER-CTOWER-C,B-3STP ROOM
CP/T-C/B3/FSWFPMP-3 | Flushing Soft water feed pump-3 with soft starter |  | TOWER-CTOWER-C,B-3STP ROOM
CP/T-C/B3/FSWFPMP-4 | Flushing Soft water feed pump-4 with soft starter |  | TOWER-CTOWER-C,B-3STP ROOM
CP/T-C/B3/SFPMP-1 | Softner feed pump-1 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/SFPMP-2 | Softner feed pump-2 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/SFPMP-3 | Softner feed pump-3 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/SWTPMP-1 | Soft Water trasfer pump-1 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/SWTPMP-2 | Soft Water trasfer pump-2 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/IRPMP-1 | Internal Recycle pump-1 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/IRPMP-2 | Internal Recycle pump-2 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/IRPMP-3 | Internal Recycle pump-3 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/IRPMP-4 | Internal Recycle pump-4 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/IRRIG/PMP-1 | Irrigation water Pump1 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/IRRIG/PMP-2 | Irrigation water Pump 2 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/PCWPMP-1 | Permeate Cumb wash pump-1 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/PCWPMP-2 | Permeate Cumb wash pump-2 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/PCWPMP-3 | Permeate Cumb wash pump-3 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/PCWPMP-4 | Permeate Cumb wash pump-4 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/CEB/PMP-1 | CEB pump-1 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/CEB/PMP-2 | CEB pump-2 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/VPF/PMP-1 | Volute pressure feed pump-1 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/PF/PMP-2 | Volute pressure feed pump-2 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/SRPMP-1 | Sludge Recycle pump-1 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/SRPMP-2 | Sludge Recycle pump-2 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/SRPMP-3 | Sludge Recycle pump-3 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/SRPMP-4 | Sludge Recycle pump-4 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ACOMP-1 | Air compresser (MAT)-1 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ACOMP-2 | Air compresser (MAT)-2 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ABMTR-1 | Air Blower with motor-1 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ABMTR-2 | Air Blower with motor-2 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ABMTR-3 | Air Blower with motor-3 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ABMTR-4 | Air Blower with motor-4 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ABMTR-5 | Air Blower with motor-5 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ABMTR-6 | Air Blower with motor-6 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ABMTR-7 | Air Blower with motor-7 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ABMTR-8 | Air Blower with motor-8 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ABMTR-9 | Air Blower with motor-9 |  | TOWER-CTower-C ,B-3STP ROOM
CP/T-C/B3/ABMTR-10 | Air Blower with motor-10 |  | TOWER-CTower-C ,B-3STP ROOM